## datalogger SD card
UNIX_TIMESTAMP (s) | DATE | TIMEZONEx4 (hrs) | SWP1 (bar) | SWP2 (bar) | T1 (C) | T2 (C) | V1 (mV) | V2 (mV) | R1 (ohm) | R2 (ohm) | BATTERY_VOLTAGE (V) | BOX TEMPERATURE (C) | PSWITCH (mins) | p1 (bar) | p2 (bar) | T1 (C) | T2 (C) | Channel | Mote_number | Sensor | mP | bPT | mPT | mT | bT
978307215 | 2001/01/01 00:00:15 | -28 | 0 | 0 | 0 | 0 | -4.69 | -0.94 | 1390.71 | 1277.92 | 3.57 | 16.85 | 0 | 46.7369 | 14.5203 | -26.067 | -67.099 | 1 | 620 | B101 | -5.7382 | 3.3528 | -0.003916 | 0.38985 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353 | 2 | 620 | B102 | -5.5788 | 1.6979 | 0.000524 | 0.39215 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353 | [5 empty] | Probe calibrations explained here.
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
[14 empty] | 32.0077 | 7.8112 | -568.2353 | -568.2353
WHAT THIS SPREADSHEET DOES:
This spreadsheet takes in the RAW sensor data from the SD card inside the datalogger and applies calibration coefficients to give you the SWP data and Temperature data. Temperature data is generally inaccurate, because the sensor thermometer is only meant for manufacture quality control and many sensors lack this thermometer.
The datalogger SD card has 3 files. This spreadsheet helps you process the data.csv file.
data.csv (raw sensor data)
irri.csv (irrigation pressure switch data)
mote_number.csv (log or errors)
It is possible to get calibrated data directly from the data.csv file. This requires inputting the probe calibration coefficients directly into the datalogger before starting to log data (i.e. before you install the sensors). To input the coefficients, connect to the datalogger with the USB cable and follow the menu to manually enter the probe calibration coefficients. With the coefficients saved to memory, the datalogger will automatically calculate SWP and Temperature as it writes the raw data to the SD card. This calibrated data will show up under the columns 'SWP1 (bar)' and 'SWP2 (bar)'. Otherwise these columns will show 0.
INSTRUCTIONS:
Fill out the mote_number and probe name in green colored cells above. Each mote/datalogger has two probes, the first probe is connected to channel 1. The datalogger-probe cables are labeled with the channel number, such as '620P1' and '620P2' for datalogger #620, probe 1 (P1) and probe 2 (P2). Each probe is labeled with a name on the cable, such as 'B101' and 'B102'.
Click on the 'Find probe calibrations here' link above to download our probe calibrations spreadsheet. In there, search for your probe name under the column 'name'. The columns to the right contain the various probe calibration coefficients 'mP, bPT, mPT, mT and bT'. Ignore other columns as they are only used for manufacture. Copy, then paste these calibration coefficients into the blue colored cells above.
Paste the SD card data from the data.csv file into orange colored cells on the left. The calibrated data will show up in the grey colored cells in the middle of the sheet. You may extend the formula down to more cells as needed.
Find probe calibrations here.

## sdi12 sensor
UNIX_TIMESTAMP (s) | DATE | V (mV) | R (ohm) | SWP (bar) | T (C) | Sensor | mP | bPT | mPT | mT | bT
978307215 | 2001/01/01 00:00:15 | -4.69 | 1390.71 | 46.7369 | -26.067 | H103 | -5.7382 | 3.3528 | -0.003916 | 0.38985 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353 | [5 empty] | Probe calibrations explained here.
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
|  |  |  | 19.8248 | -568.2353
Find probe calibrations here.
WHAT THIS SPREADSHEET DOES:
This spreadsheet takes in the RAW sensor voltage and resistance data from an SDI12 probe and calculates the SWP and temperature data. This calculation is generally unnecessary because the SDI12 box automatically calculates SWP, but you can run it here too for verification. This spreadsheet may be useful when troubleshooting an SDI12 box, or if the box is not paired with the probe (this means that the SDI12 readout for SWP will be wrong).
Temperature data is generally inaccurate, because the sensor thermometer is only meant for manufacture quality control and many sensors lack this thermometer.
Each SDI12 box gives 3 readouts: SWP, Voltage and Resistance.
INSTRUCTIONS:
Fill out the probe name in green colored cell above.
Click on the 'Find probe calibrations here' link above to download our probe calibrations spreadsheet. In there, search for your probe name under the column 'name'. The columns to the right contain the various probe calibration coefficients 'mP, bPT, mPT, mT and bT'. Ignore other columns as they are only used for manufacture. Copy, then paste these calibration coefficients into the blue colored cells above.
Paste the time, voltage and resistance data into orange colored cells on the left. The calibrated data will show up in the grey colored cells in the middle of the sheet. You may extend the formula down to more cells as needed.

## analog sensor
UNIX_TIMESTAMP (s) | DATE | V (mV) | SWP (bar) | Sensor | mP | bPT | OFFSET = -bPT*mP
978307215 | 2001/01/01 00:00:15 | -4.69 | 46.1512 | B101 | -5.7382 | 3.3528 | MULTIPLIER = mP
19.239
19.239
|  |  | 19.239 |  |  |  |  | Probe calibrations explained here.
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
19.239
Find probe calibrations here.
WHAT THIS SPREADSHEET DOES:
This spreadsheet takes in the RAW sensor voltage from an analog FloraPulse probe and calculates the SWP data. This calculation is generally unnecessary because the calibration coefficients are usually saved into the datalogging software, but you can use it for troubleshooting.
Analog probes do not provide a resistance/temperature value because the chip thermometer is inaccurate and only used during manufacture.
INSTRUCTIONS:
Fill out the probe name in green colored cell above.
Click on the 'Find probe calibrations here' link above to download our probe calibrations spreadsheet. In there, search for your probe name under the column 'name'. The columns to the right contain the various probe calibration coefficients 'mP and bPT'. Ignore other columns as they are only used for manufacture. Copy, then paste these calibration coefficients into the blue colored cells above.
The calibration coefficients are sometimes given as OFFSET and MULTIPLIER. If needed, you can convert from those to mP and bPT using the equations provided.
Paste the time, voltage and resistance data into orange colored cells on the left. The calibrated data will show up in the grey colored cells in the middle of the sheet. You may extend the formula down to more cells as needed.